## 3.2-Standard Assumptions
Built Form Assumptions: Area & Relational Data
Table A- Relational Size Assumptions for savings extrapolation (where data is not available for specific archetype) | [5 empty] | Table C-Dwelling Area Statistics
Small property variant = 0.7 average value* | * Not based in absolute min & max floor area of each type , but assumed main range. Based on UCL expertise in archetypes. |  |  |  |  | Average Dwelling TFA by type (m2) |  |  |  | Covered wall area by type (m2) (Excluding Windows and Doors) | Loft area by type (m2) |  |  | Sources
Large property variant = 1.3 average value * | [5 empty] | Type | England 1 | Scotland 2 | Average | Average 3 | Average 3 | 1-Donaldson, L., 2018. Floor Space in English Homes – main report. MHCLG. Scottish Government, 2017. 2-Scottish house condition survey: 2017 key findings. Scottish Government.3-EST, 2019. Determining the costs of insulating non-standard cavity walls and lofts. Department for Business, Energy & Industrial Strategy. Note:Where EST loft area estimates are considerably different than expected for single storey house types (e.g. exceeds the TFA), the loft area is taken as equivalent to TFA
Bungalow = 0.75 detached (where required) | [5 empty] | CNV Flat | 65 | 75 | 69 | 29 | 61
End Terrace = 1.3 Mid Terrace (where required) | [5 empty] | Flat LR | 55 | 67 | 55 | 29 | 55
Flats = Bungalow (Where required) | [5 empty] | Flat HR | 55 | 67 | 55 | 29 | 55
[6 empty] | Mid Terrace | 81 | 94 | 81 | 43 | 39
Table B-Flat Assumptions | [5 empty] | End Terrace | 86 | 94 | 86 | 77 | 39
HR flat >= 6 floors | Based on EHS/ DOE designations |  |  |  |  | Semi-Detached | 93 | 101 | 93 | 82 | 49
Savings multiple : HR Flat = 2 LR Flat | Baily Garner, 2016. Condition Survey Report & Life Cycle Cost Analysis High Path Estate. Circle Housing. |  |  | Comp costings for 3 highrise blocks compared to LR Flat works |  | Detached | 152 | 146 | 151 | 172 | 73
[6 empty] | Bungalow | 77 | N/A | 77 | 45 | 77
Internal Roller
PSQM
[21 empty] | Louvolite | 46.75
Savings multiple for converted flats : 1.2 LR Flat | BRE, 2012. English Housing Survey Energy efficiency of English housing report. Building Research Establishment. |  |  | CNV likely to be worse performing & access/space issues | [16 empty] | BBSA (Actual Size 1.2 * 1.8) | 39.2
[21 empty] | BBSA (Avg) | 35.35
[21 empty] | Dave - Cheap | 32.93
[21 empty] | Dave - Exp | 56.42
Initial SQM Price Based on the cost of a 1.2 x 1.8 m window which were then converted into SQM Prices
[21 empty] | Internal Roller |  |  | External (with motor)
[21 empty] | Low Spec | High Spec | High Spec + Perfect Fit | Roller/Screen (free hanging) | Roller/ Screen (zip) | Venetian | Alluminium Roller Shutter | Awning (*Prices for 1 window only. Based on typical window size for awning: 5m width x 2.7m height Awning size: 5m wide x 2m extension.) | Markisolette
[16 empty] | P/SQM |  |  |  |  | 39.2 | 56.42 | 56.42 | 180 | 250 | 179.4913 | 224.3641 | - | 239.3217
[16 empty] | PER WINDOW | [6 empty] | + £40 per window |  |  |  |  | -
[16 empty] | Bespoke | [11 empty] | 3500
[16 empty] | SQM | 14 |  |  |  | 548.8 | 789.88 | As Above | 2520 | 3500 | 2512.8783 | 3141.0979 | As Above | 3350.5044
[17 empty] | 11 |  |  |  | 431.2 | 620.62 |  | 1980 | 2750 | 1974.4044 | 2468.0055 |  | 2632.5392
[17 empty] | 16 |  |  |  | 627.2 | 902.72 |  | 2880 | 4000 | 2871.8609 | 3589.8261 |  | 3829.1479
[17 empty] | 15 |  |  |  | 588 | 846.3 |  | 2700 | 3750 | 2692.3696 | 3365.462 |  | 3589.8261
[17 empty] | 36 |  |  |  | 1411.2 | 2031.12 |  | 1411.2 | 1411.2 | 1411.2 | 1411.2 |  | 1411.2
[17 empty] | 19 |  |  |  | 744.8 | 1071.98 |  | 3420 | 4750 | 3410.3348 | 4262.9185 |  | 4547.1131
[17 empty] | Notes: | [6 empty] | Does this price include side guides? |  |  |  | Worth working out the price for the smallest awning.
Window Assumptions
[19 empty] | Assumed Window Size |  | Internal Shading |  |  | External Shading
[15 empty] | Archetype | Windows | Typical window area (m2) | Area per Window | Width | Drop | Low Spec Fabric gtot 0.35 - 0.60 (closed) | High Spec Fabric with Reflective Back gtot 0.23 - 0.35 (closed) | High Spec Fabric with Frame fitted to Window gtot 0.23 - 0.35 (closed) | External Roller/Screen installed with Side Guides (inc Motor) gtot 0.08 - 0.15 (closed) | External Roller/Screen installed with zip/sealead attachment to window frame (inc Motor) gtot 0.08 - 0.15 (closed) | External Venetian (inc Motor) gtot 0.03 closed gtot 0.10 45degrees | External Alluminium Roller Shutters (inc Motor) gtot 0.03 closed gtot 0.15 open slots | External Awning* (*Prices for 1 window only. Based on typical window size for awning: 5m width x 2.7m height Awning size: 5m wide x 2m extension.) | External Markisolette
Table D- No of windows / areas for house archetypes | [5 empty] | Table E- BFRC window energy rating scale | [8 empty] | CNV Flat | 4 | 14.0397 | 3.5099 | 2.9249 | 1.2 | 550 | 800 | 960 | 2520 | 3509.9193 | 2520 | 3150 | 3500 (1 window*) | 3360
Type | No | Notes | Typical window area (m2) | Source |  |  | Energy index (kWh/m2/yr) | Source | [6 empty] | Flat LR | 4 | 11.0197 | 2.7549 | 2.2958 | 1.2 | 430 | 620 | 780 | 1990 | 2760 | 1990 | 2479.4415 |  | 2644.7376
CNV Flat | 4 | 2 Bed | 14.0397 | NHBC, 2017. Windows - making it clear- Energy, daylighting and thermal comfort. National House-Building Council. |  | A+ | >0 | BFRC (2019) British Fenestration Rating Council | [6 empty] | Flat HR | 4 | 11.0197 | 2.7549 | 2.2958 | 1.2 | 430 | 620 | 780 | 1990 | 2760 | 1990 | 2479.4415 |  | 2644.7376
Flat LR | 4 | 2 Bed | 11.0197 |  |  | A | 0 | [7 empty] | Mid Terrace | 5 | 15.7766 | 3.1553 | 2.6294 | 1.2 | 630 | 900 | 1100 | 2839.7835 | 3945 | 2839.7835 | 3549.7294 |  | 3786.3781
Flat HR | 4 | 2 Bed | 11.0197 |  |  | B | –10 to 0 | [7 empty] | End Terrace | 5 | 15.3056 | 3.0611 | 2.5509 | 1.2 | 590 | 860 | 1060 | 2760 | 3826 | 2760 | 3443.75 |  | 3673.3333
Mid Terrace | 5 | 2 Bed | 15.7766 |  |  | C | –20 to –10 | [7 empty] | Semi-Detached | 7 | 16.456 | 2.3509 | 1.959 | 1.2 | 630 | 900 | 1180 | 2960 | 4015 | 2960 | 3702.5963 |  | 3949.4361
End Terrace | 5 | 2 Bed | 15.3056 |  |  | D | –30 to –20 | [7 empty] | Detached | 12 | 35.8173 | 2.9848 | 2.4873 | 1.2 | 1410 | 2030 | 2510 | 6450 | 8950 | 6450 | 8058.8977 |  | 8596.1575
Semi-Detached | 7 | Average SD | 16.456 |  |  | E | –50 to –30 | [7 empty] | Bungalow | 5 | 18.566 | 3.7132 | 3.0943 | 1.2 | 750 | 1070 | 1270 | 3350 | 4641.4877 | 3350 | 4177.3389 |  | 4455.8282
Detached | 12 | Average D | 35.8173 |  |  | F | –70 to –50 | [7 empty] | *Prices for 1 window only. Based on typical window size for awning: 5m width x 2.7m height Awning size: 5m wide x 2m extension.
Bungalow | 5 | 2 Bed | 18.566 |  |  | G | <–70 | [15 empty] | High Spec + £40 per window for frame | Same as Ven |  | Same as Roller
Table F- Calculated Door/Window Performance/ archetypes
| Glazing area (m2) | A+ | A | B |  | C |  | D |  | E |  | F |  | G
|  | >0 | 0 | 0 | –10 | -10 | –20 | -20 | -30 | –30 | -50 | -50 | -70 | >-70
Total Losses from windows ( loss per m2 glazed area * typical glazed area in kWh)
CNV Flat | 14.0397 | N/A | N/A | N/A | 140.3968 | 140.3968 | 280.7935 | 280.7935 | 421.1903 | 421.1903 | 701.9839 | 701.9839 | 982.7774 | 982.7774 |  |  | Average
Flat LR | 11.0197 | N/A | N/A | N/A | 110.1974 | 110.1974 | 220.3948 | 220.3948 | 330.5922 | 330.5922 | 550.987 | 550.987 | 771.3818 | 771.3818 | 421.1903 | 701.9839 | 561.5871 | 561.5871
Flat HR | 11.0197 | N/A | N/A | N/A | 110.1974 | 110.1974 | 220.3948 | 220.3948 | 330.5922 | 330.5922 | 550.987 | 550.987 | 771.3818 | 771.3818 | 330.5922 | 550.987 | 440.7896 | 440.7896
Mid Terrace | 15.7766 | N/A | N/A | N/A | 157.7658 | 157.7658 | 315.5315 | 315.5315 | 473.2973 | 473.2973 | 788.8288 | 788.8288 | 1104.3603 | 1104.3603 | 330.5922 | 550.987 | 440.7896 | 440.7896
End Terrace | 15.3056 | N/A | N/A | N/A | 153.0556 | 153.0556 | 306.1111 | 306.1111 | 459.1667 | 459.1667 | 765.2778 | 765.2778 | 1071.3889 | 1071.3889 | 473.2973 | 788.8288 | 631.063 | 631.063
Semi-Detached | 16.456 | N/A | N/A | N/A | 164.5598 | 164.5598 | 329.1197 | 329.1197 | 493.6795 | 493.6795 | 822.7992 | 822.7992 | 1151.9189 | 1151.9189 | 459.1667 | 765.2778 | 612.2222 | 612.2222
Detached | 35.8173 | N/A | N/A | N/A | 358.1732 | 358.1732 | 716.3465 | 716.3465 | 1074.5197 | 1074.5197 | 1790.8661 | 1790.8661 | 2507.2126 | 2507.2126 | 493.6795 | 822.7992 | 658.2393 | 658.2393
Bungalow | 18.566 | N/A | N/A | N/A | 185.6595 | 185.6595 | 371.319 | 371.319 | 556.9785 | 556.9785 | 928.2975 | 928.2975 | 1299.6165 | 1299.6165 | 1074.5197 | 1790.8661 | 1432.6929 | 1432.6929
Doors | 2 | N/A | N/A | N/A | 20 | 20 | 40 | 40 | 60 | 60 | 100 | 100 | 140 | 140 | 556.9785 | 928.2975 | 742.638 | 742.638
Improvement over G rating (kWh) | [14 empty] | 60 | 100 | 80 | 80
CNV Flat | 14.0397 | 982.7774 | 982.7774 | 982.7774 | 842.3806 | 842.3806 | 701.9839 | 701.9839 | 561.5871 | 561.5871 | 280.7935 | 280.7935 | 0 | 982.7774
Flat LR | 11.0197 | 771.3818 | 771.3818 | 771.3818 | 661.1844 | 661.1844 | 550.987 | 550.987 | 440.7896 | 440.7896 | 220.3948 | 220.3948 | 0 | 771.3818
Flat HR | 11.0197 | 771.3818 | 771.3818 | 771.3818 | 661.1844 | 661.1844 | 550.987 | 550.987 | 440.7896 | 440.7896 | 220.3948 | 220.3948 | 0 | 771.3818
Mid Terrace | 15.7766 | 1104.3603 | 1104.3603 | 1104.3603 | 946.5945 | 946.5945 | 788.8288 | 788.8288 | 631.063 | 631.063 | 315.5315 | 315.5315 | 0 | 1104.3603
End Terrace | 15.3056 | 1071.3889 | 1071.3889 | 1071.3889 | 918.3333 | 918.3333 | 765.2778 | 765.2778 | 612.2222 | 612.2222 | 306.1111 | 306.1111 | 0 | 1071.3889
Semi-Detached | 16.456 | 1151.9189 | 1151.9189 | 1151.9189 | 987.359 | 987.359 | 822.7992 | 822.7992 | 658.2393 | 658.2393 | 329.1197 | 329.1197 | 0 | 1151.9189
Detached | 35.8173 | 2507.2126 | 2507.2126 | 2507.2126 | 2149.0394 | 2149.0394 | 1790.8661 | 1790.8661 | 1432.6929 | 1432.6929 | 716.3465 | 716.3465 | 0 | 2507.2126
Bungalow | 18.566 | 1299.6165 | 1299.6165 | 1299.6165 | 1113.957 | 1113.957 | 928.2975 | 928.2975 | 742.638 | 742.638 | 371.319 | 371.319 | 0 | 1299.6165
Doors | 2 | 140 | 140 | 140 | 120 | 120 | 100 | 100 | 80 | 80 | 40 | 40 | 0 | 140
Improvement over Mid E rating (kWh) - Mid E calculated as average of E Band performance
CNV Flat | 14.0397 | 561.5871 | 561.5871 | 561.5871 | 421.1903 | 421.1903 | 280.7935 | 280.7935 | 140.3968 | 561.5871
Flat LR | 11.0197 | 440.7896 | 440.7896 | 440.7896 | 330.5922 | 330.5922 | 220.3948 | 220.3948 | 110.1974 | 440.7896
Flat HR | 11.0197 | 440.7896 | 440.7896 | 440.7896 | 330.5922 | 330.5922 | 220.3948 | 220.3948 | 110.1974 | 440.7896
Mid Terrace | 15.7766 | 631.063 | 631.063 | 631.063 | 473.2973 | 473.2973 | 315.5315 | 315.5315 | 157.7658 | 631.063
End Terrace | 15.3056 | 612.2222 | 612.2222 | 612.2222 | 459.1667 | 459.1667 | 306.1111 | 306.1111 | 153.0556 | 612.2222
Semi-Detached | 16.456 | 658.2393 | 658.2393 | 658.2393 | 493.6795 | 493.6795 | 329.1197 | 329.1197 | 164.5598 | 658.2393
Detached | 35.8173 | 1432.6929 | 1432.6929 | 1432.6929 | 1074.5197 | 1074.5197 | 716.3465 | 716.3465 | 358.1732 | 1432.6929
Bungalow | 18.566 | 742.638 | 742.638 | 742.638 | 556.9785 | 556.9785 | 371.319 | 371.319 | 185.6595 | 742.638
Doors | 2 | 80 | 80 | 80 | 60 | 60 | 40 | 40 | 20 | 80

## Costs
|  |  | Internal Shading |  |  | External Shading
Archetype | Windows | Typical window area (m2) | Low Spec Fabric gtot 0.35 - 0.60 (closed) | High Spec Fabric with Reflective Back gtot 0.23 - 0.35 (closed) | High Spec Fabric with Frame fitted to Window gtot 0.23 - 0.35 (closed) | External Roller/Screen installed with Side Guides (inc Motor) gtot 0.08 - 0.15 (closed) | External Roller/Screen installed with zip/sealead attachment to window frame (inc Motor) gtot 0.07 - 0.14 (closed) | External Venetian (inc Motor) gtot 0.03 closed gtot 0.10 45degrees | External Alluminium Roller Shutters (inc Motor) gtot 0.03 closed gtot 0.15 open slots | External Awning* (*Prices for 1 window only. Based on typical window size for awning: 3.5m width x 2.7m height Awning size: 3.6m wide x 2m extension.) (inc Motor) | External Awning* (*Prices for 1 window only. Based on typical window size for awning: 5m width x 2.7m height Awning size: 5m wide x 2m extension.) (inc Motor) | External Markisolette (inc Motor)
CNV Flat | 4 | 14 | 550 | 800 | 960 | 2520 | 3500 | 2450 | 3150 | 2900 (1 window*) | 3500 (1 window*) | 3360
Flat LR | 4 | 11 | 430 | 620 | 780 | 1990 | 2760 | 1930 | 2480 |  |  | 2640
Flat HR | 4 | 11 | 430 | 620 | 780 | 1990 | 2760 | 1930 | 2480 |  |  | 2640
Mid Terrace | 5 | 16 | 630 | 900 | 1100 | 2880 | 3950 | 2800 | 3600 |  |  | 3840
End Terrace | 5 | 15 | 590 | 860 | 1060 | 2760 | 3830 | 2625 | 3375 |  |  | 3600
Semi-Detached | 7 | 16 | 680 | 950 | 1230 | 2960 | 4070 | 2920 | 3720 |  |  | 3960
Detached | 12 | 36 | 1410 | 2030 | 2510 | 6480 | 8950 | 6300 | 8100 |  |  | 8640
Bungalow | 5 | 19 | 750 | 1070 | 1270 | 3420 | 4750 | 3325 | 4275 |  |  | 4560
gtot = Total Solar Transmission of the combination of blinds and glass. This is based on shading in combination with Double Low E Glass. The performance effect of the blind would be greater with Double or Single Clear glazing.

## Images & Detail
Internal Shading
Low Spec Fabric gtot 0.35 - 0.60 (closed) | High Spec Fabric with Reflective Back gtot 0.23 - 0.35 (closed) | High Spec Fabric with Frame fitted to Window gtot 0.23 - 0.35 (closed)
If fitted to the window - windows can be opened and ventilation improved. Compatible with Tilt and Turn and Push Out windows and PVC Frame Doors.
External Shading
External Roller/Screen installed with Side Guides (inc Motor) gtot 0.08 - 0.15 (closed) | External Roller/Screen installed with zip/sealead attachment to window frame (inc Motor) gtot 0.07 - 0.14 (closed) | External Venetian (inc Motor) gtot 0.03 closed gtot 0.10 45degrees | External Alluminium Roller Shutters (inc Motor) gtot 0.03 closed gtot 0.15 open slots | External Awning* (*Prices for 1 window only. Based on typical window size for awning: 5m width x 2.7m height Awning size: 5m wide x 2m extension.) | External Markisolette